## READ ME
StratoXFilter -- measurement table (READ ME)
Purpose: record your measurements here, then use 'Map builder...' in
StratoXFilter to turn this table into an error-map CSV automatically.
HOW TO FILL (see the data tab next to this one):
- One row per commanded position (column 'commanded_mm').
- One column per measurement pass. Name + direction columns with
pos / right / fwd / up and - direction columns with
neg / left / back / down (e.g. pos_pass1, neg_pass1).
- Any NUMBER of passes per direction (2,3,5,6...). The builder takes the
MEDIAN across them per node -- more passes = more robust.
- Any STEP (20,40,60,100 mm...), uniform or not.
- Any RANGE / travel length. Measure the full travel if you can; beyond
the measured span the filter extrapolates linearly.
- Commanded values must be unique; row order does not matter (auto-sorted).
WHAT GOES IN THE PASS CELLS -- pick the matching mode in Map builder:
1) 'Measured positions' (default): absolute position on the axis, same
frame as commanded.
2) 'Raw scale readings (zeroed each pass)': the scale reading as-is
(signed distance from where you zeroed). The builder computes
measured = anchor + scale (anchor = pass start: lowest commanded for
+ passes, highest commanded for - passes).
3) 'Errors': you already computed error = measured - commanded; paste that.
NOTE ON THE - (leftward) DIRECTION:
Going right you can zero the scale at X0, so its reading already IS the
absolute position. Going left you home to the far end (e.g. X1520) and zero
the scale there, so it reads negative distances. Either use 'Raw scale'
mode (builder adds the anchor for you), or convert in the sheet:
measured_abs = 1520 + scale_reading (e.g. -19.95 -> 1500.05).
MEASUREMENT METHOD (one pass, identical every time):
1. Fresh homing to a repeatable datum.
2. Back off a few mm in the direction you will map (takes up backlash ->
pass is monotonic and backlash-free).
3. Zero the scale.
4. Command monotonic steps across the travel; record scale at each node.
5. Repeat 3-5 passes per direction. Never reverse mid-pass.
Keep backlash OUT of the map -- compensate it separately in the filter/controller.
FAR-END DATUM (for the reverse passes, if your controller homes one side only):
Most controllers (incl. UCCNC) only home to one side, so the reverse-direction
passes need a repeatable datum at the FAR end. Establish it with a short custom
macro: jog into the far limit sensor (finish in ~0.01 mm steps), read the scale
at contact, then back off by the amount that lands you on your reference -- e.g.
the scale read 1530.11 at the sensor, so a 10.11 mm back-off sits at 1520. Zero
the scale there and run the passes. VERIFY IT REPEATS first: re-run the macro a
few times and check the scale returns to the same value (mine held +-0.005 mm).
The repeatability is what matters, not the exact number -- the filter normalizes
each map, so a constant datum offset cancels; a datum that drifts corrupts the median.

## X measurements
Example data (measured positions). Replace with your own. See the READ ME tab.
commanded_mm | pos_pass1 | pos_pass2 | pos_pass3 | neg_pass1 | neg_pass2 | neg_pass3
0 |  |  |  | 0.678 | 0.671 | 0.691
20 | 20.318 | 20.336 | 20.33 | 20.667 | 20.685 | 20.666
40 | 40.422 | 40.408 | 40.409 | 40.747 | 40.763 | 40.735
60 | 60.254 | 60.27 | 60.283 | 60.823 | 60.816 | 60.839
80 | 80.457 | 80.489 | 80.467 | 80.831 | 80.83 | 80.837
100 | 100.668 | 100.642 | 100.658 | 100.876 | 100.865 | 100.872
120 | 120.708 | 120.707 | 120.713 | 120.807 | 120.797 | 120.793
140 | 140.668 | 140.663 | 140.657 | 140.762 | 140.758 | 140.74
160 | 160.668 | 160.666 | 160.68 | 160.739 | 160.722 | 160.749
180 | 180.74 | 180.752 | 180.765 | 180.706 | 180.72 | 180.702
200 | 200.867 | 200.871 | 200.863 | 200.815 | 200.793 | 200.808
220 | 220.969 | 220.968 | 220.963 | 220.884 | 220.888 | 220.869
240 | 240.987 | 240.962 | 240.988 | 240.936 | 240.95 | 240.943
260 | 261.021 | 261.025 | 261.037 | 260.906 | 260.923 | 260.912
280 | 281.035 | 281.032 | 281.061 | 280.925 | 280.93 | 280.936
300 | 301.085 | 301.053 | 301.068 | 300.867 | 300.88 | 300.878
320 | 321.02 | 320.996 | 321.002 | 320.829 | 320.85 | 320.853
340 | 340.996 | 340.997 | 340.999 | 340.859 | 340.869 | 340.874
360 | 361.061 | 361.05 | 361.067 | 360.925 | 360.933 | 360.948
380 | 381.173 | 381.166 | 381.17 | 381.002 | 380.977 | 381.011
400 | 401.236 | 401.24 | 401.237 | 401.011 | 401.011 | 400.999
420 | 421.255 | 421.232 | 421.233 | 420.898 | 420.896 | 420.904
440 | 441.212 | 441.21 | 441.216 | 440.909 | 440.92 | 440.906
460 | 461.12 | 461.11 | 461.091 | 460.85 | 460.854 | 460.855
480 | 481.025 | 481.054 | 481.06 | 480.829 | 480.829 | 480.813
500 | 501.004 | 501.014 | 501.011 | 500.798 | 500.771 | 500.766
520 | 521.058 | 521.041 | 521.026 | 520.772 | 520.751 | 520.771
540 | 541.089 | 541.085 | 541.078 | 540.74 | 540.745 | 540.737
560 | 561.091 | 561.081 | 561.091 | 560.748 | 560.744 | 560.767
580 | 581.069 | 581.064 | 581.062 | 580.758 | 580.755 | 580.734
600 | 601.016 | 601.009 | 600.996 | 600.691 | 600.701 | 600.7
620 | 620.888 | 620.898 | 620.878 | 620.642 | 620.645 | 620.643
640 | 640.795 | 640.789 | 640.789 | 640.478 | 640.478 | 640.495
660 | 660.701 | 660.699 | 660.684 | 660.456 | 660.462 | 660.433
680 | 680.641 | 680.651 | 680.646 | 680.43 | 680.419 | 680.407
700 | 700.647 | 700.628 | 700.647 | 700.444 | 700.421 | 700.421
720 | 720.648 | 720.639 | 720.617 | 720.455 | 720.456 | 720.486
740 | 740.627 | 740.601 | 740.628 | 740.609 | 740.596 | 740.584
760 | 760.617 | 760.6 | 760.596 | 760.589 | 760.576 | 760.571
780 | 780.547 | 780.527 | 780.545 | 780.508 | 780.483 | 780.485
800 | 800.442 | 800.44 | 800.453 | 800.375 | 800.382 | 800.37
820 | 820.471 | 820.449 | 820.453 | 820.298 | 820.311 | 820.292
840 | 840.492 | 840.475 | 840.476 | 840.276 | 840.256 | 840.273
860 | 860.437 | 860.43 | 860.462 | 860.282 | 860.294 | 860.304
880 | 880.467 | 880.458 | 880.466 | 880.297 | 880.306 | 880.279
900 | 900.507 | 900.495 | 900.496 | 900.361 | 900.35 | 900.352
920 | 920.545 | 920.551 | 920.533 | 920.425 | 920.42 | 920.42
940 | 940.548 | 940.538 | 940.541 | 940.399 | 940.418 | 940.408
960 | 960.49 | 960.493 | 960.465 | 960.432 | 960.448 | 960.444
980 | 980.435 | 980.435 | 980.448 | 980.313 | 980.32 | 980.313
1000 | 1000.437 | 1000.441 | 1000.446 | 1000.331 | 1000.354 | 1000.351
1020 | 1020.401 | 1020.43 | 1020.434 | 1020.299 | 1020.328 | 1020.306
1040 | 1040.384 | 1040.405 | 1040.398 | 1040.391 | 1040.402 | 1040.406
1060 | 1060.389 | 1060.383 | 1060.388 | 1060.469 | 1060.441 | 1060.462
1080 | 1080.433 | 1080.416 | 1080.428 | 1080.5 | 1080.495 | 1080.478
1100 | 1100.509 | 1100.502 | 1100.509 | 1100.494 | 1100.501 | 1100.492
1120 | 1120.501 | 1120.481 | 1120.475 | 1120.467 | 1120.486 | 1120.483
1140 | 1140.455 | 1140.451 | 1140.482 | 1140.393 | 1140.398 | 1140.374
1160 | 1160.422 | 1160.448 | 1160.437 | 1160.353 | 1160.388 | 1160.375
1180 | 1180.412 | 1180.383 | 1180.414 | 1180.353 | 1180.385 | 1180.368
1200 | 1200.414 | 1200.422 | 1200.437 | 1200.406 | 1200.4 | 1200.416
1220 | 1220.42 | 1220.414 | 1220.416 | 1220.467 | 1220.473 | 1220.477
1240 | 1240.382 | 1240.4 | 1240.382 | 1240.535 | 1240.522 | 1240.529
1260 | 1260.366 | 1260.375 | 1260.366 | 1260.554 | 1260.547 | 1260.533
1280 | 1280.329 | 1280.347 | 1280.314 | 1280.498 | 1280.482 | 1280.485
1300 | 1300.213 | 1300.196 | 1300.2 | 1300.358 | 1300.369 | 1300.344
1320 | 1320.193 | 1320.188 | 1320.185 | 1320.291 | 1320.289 | 1320.277
1340 | 1340.135 | 1340.133 | 1340.16 | 1340.27 | 1340.267 | 1340.263
1360 | 1360.154 | 1360.155 | 1360.147 | 1360.296 | 1360.295 | 1360.297
1380 | 1380.128 | 1380.116 | 1380.128 | 1380.386 | 1380.413 | 1380.414
1400 | 1400.172 | 1400.16 | 1400.189 | 1400.432 | 1400.434 | 1400.42
1420 | 1420.18 | 1420.184 | 1420.185 | 1420.428 | 1420.44 | 1420.42
1440 | 1440.156 | 1440.149 | 1440.161 | 1440.332 | 1440.331 | 1440.342
1460 | 1460.089 | 1460.103 | 1460.101 | 1460.25 | 1460.246 | 1460.249
1480 | 1480.01 | 1479.991 | 1479.988 | 1480.119 | 1480.086 | 1480.109
1500 | 1499.956 | 1499.932 | 1499.963 | 1500.016 | 1500.005 | 1500.009
1520 | 1519.932 | 1519.906 | 1519.921